## Technical Specifications
Avaya Products – Requirements Matrix A response in the form of an Availability Code (A, E, or X) is required for each item. Brief comments or required explaination for each requirement should be entered in the table under "Vendor Comments". If diagrams, charts, or documents are needed in order to respond, please include them as an Attachment to your response and note the Attachment reference in your Comment. Elaborate or provide additional details on any items that could differentiate you from another Vendor. Vendor must indicate what additional costs or number of additional implementation days, if any, will be incurred as well as the estimated time frame for completion. Shaded cells do not require a response.
A = Vendor will or can comply with the requirement.
E = Vendor is not able to meet the requirement, but is able to provide an alternative solution.
X = Vendor is not capable of providing the requirement or the service is not available.
Ref # | Description | Mandatory Requirement "M" | Vendor Response: A, E, X | Vendor Comments
OVERVIEW
These specifications cover the requirements for the acquisition of AVAYA telecommunication platforms (pieces & parts) and installation for any and all state entities. These acquisition requirements will establish the guidelines for acquiring new AVAYA telecommunication platform equipment and parts for existing equipment.
1. CURRENT ENVIRONMENT
1.1 | Capitol Complex Current Hardware and Software Environment/Core Host located in the ITS Primary Data Center:
1.1.1 | Unified Communications with approximately 17,000 licenses and Contact Center with approximately 1,300 seat licenses
1.1.2 | 2 Fully Redundant AVAYA AURA Communications Managers and AVAYA Contact Center Elite
1.1.3 | 165 Media Gateways at locations throughout the state
1.1.4 | 37 Local Survivable Processors/Enterprise Survivable Servers
1.1.5 | 4 AVAYA IX Application Servers
1.1.6 | Peripheral servers providing administrative and support functions (System Manager, Session Manager, AES, SBC, , Weblm, and CMS servers)
1.1.7 | AVAYA IX Messaging Voice Mail
1.1.8 | AVAYA IX Web Client
1.1.9 | Experience Portal (4 Servers) IVR
1.1.10 | Workforce Management Call Recording
2. LOCAL/STATE ACCOUNT TEAM
2.1 | The State has found it beneficial to have a designated, local account team to form a partnership with ITS. Such a working partnership affords the Vendor an insight into how the State operates so that the Vendor may best meet the needs of the State. The size, location, and qualifications of this staff will be evaluated accordingly. It is highly desirable that the support staff be local to the Capitol Complex and metro area. Vendors with an account team based within a 50 miles radius of Jackson, Mississippi will receive favorable consideration.
2.2 | In order to ensure a strong partnership and eliminate the chance of misunderstanding the State’s goals, all contact with the State’s various logical entities must be done through the designated local account team.
2.3 | The account team may be responsible for supporting the needs of K-12 schools, community colleges, universities, public libraries, governing authorities, and law enforcement authorities, as they may purchase goods and services from the resulting contract.
2.4 | The account team must be made up of the following (at a minimum): For the purpose of this category: “designated” means that the resource works on the State of Mississippi account but may work on other accounts at the vendor’s discretion. All are expected to participate in State’s project and/or service meetings as needed.
2.4.1 | Account Manager / Client Executive – Serves as the primary liaison with the State, responsible for overall account management, service performance oversight, and strategic planning. This individual must be designated to the State of Mississippi account and must be located in the United States or Canada, preferably in Mississippi. | M
2.4.2 | Technical Account Manager / Voice Engineer – Provides technical expertise, oversees system design, call routing, integrations, and ensures compliance with State voice and data network requirements.This individual must be designated to the State of Mississippi account and must be located in the United States or Canada. | M
2.4.3 | Service Delivery Manager – Coordinates day-to-day service delivery, manages service levels, and ensures operational performance objectives are met. This individual must be designated to the State of Mississippi account and must be located in the United States or Canada.
2.4.4 | Designated Project Manager (as applicable) - Manages implementation and transition projects, including planning, scheduling, and deliverable tracking. This individual must be designated to the State of Mississippi account and must be located in the United States or Canada.
2.4.5 | Support Lead / Escalation Manager – Acts as the central contact for incident management, escalations, and coordination with the Vendor’s Network Operations Center (NOC) and help desk.
2.4.6 | Customer Service Representative - Coordinate routine service requests (adds/moves/changes/disconnects). Coordinate implementation activities and interfaces with other State business partners involved in these projects. These individuals must be designated on a per project basis and must be located in the continental United States.
2.4.6.1 | Vendor must describe the qualifications of the proposed sales/support account team in detail with emphasis on the qualifications and past experience with an AVAYA Aura on premise system, and Managed Servies installations of this size, including but not limited to 150+ locations, approximately 17,000 stations, call center applications, unified messaging, unified communications, IP trunks, IP stations, H323 stations, SIP trunks, SIP stations, QoS, and prioritization.
2.5 | Awarded Vendor must provide an escalation process for issues related to the account team. This process should include names and contact information of the appropriate management personnel. | M
2.6 | The State expects that the account team personnel remains a part of the account team throughout the duration of the contract, so long as personnel are employed by the Vendor barring any promotions or separations from Vendor company.
2.7 | Planned changes to the account team must be communicated to the State for approval at least 14 calendar days prior to the change taking effect. The State reserves the right to request detailed resume information for the replacement individual and reject the proposed team member if they do not meet the State’s approval. | M
2.8 | If any proposed personnel does not meet requirements and expectations of the State, the State reserves the right to require a replacement. | M
2.9 | As the contract grows and more logical entities implement services, the vendor must scale the account team in order to meet the growing demands for service.
2.1 | Communication between the State and Vendor is key to a successful long term relationship. At ITS’ discretion as the contract manager, the vendor account team will be required to participate in the following:
2.10.1 | Weekly conference calls
2.10.2 | Monthly On-site status meetings
2.10.3 | Quarterly On-site technical design/strategy/planning sessions.
2.10.4 | Additional meetings may be required by other government entities that procure services from this RFP.
3. VENDOR QUALIFICATIONS
3.1 | The State prefers that the awarded Vendor have an office and staff in Mississippi. Vendors must state where their local office is and/or their willingness to have a local office prior to contract execution.
3.2 | Vendor must provide the total number of employees who normally provide services in Mississippi.
3.3 | Vendor must provide a description of their organization. This description shall contain all pertinent data relating to the Vendor’s organization, personnel, and experience that would substantiate the qualifications and capabilities of the Vendor’s company to perform the services described herein. At minimum the description must describe: Brief history of company, AVAYA certifications held by staff that will service this account and any certifications that the Vendor holds as a company; experience in the field, including number of years in AVAYA PBX installation/maintenance business; and experience as an AVAYA business partner.
3.4 | ITS has standardized on Cisco for all WAN and Capitol Complex fiber network core devices. Other agencies or entities utilizing this contract may have other standards. Vendors must provide information regarding their experience with Cisco devices for the ITS enterprise.
3.5 | Vendor must be certified to sell and service AVAYA products. In their proposal response, Vendor must include documentation that validates their AVAYA standing. Vendor must provide proof of the commercial arrangement that allows them to provide the highest level of support certification with Avaya Aura. If applicable, documentation should include description of the contractual relationships that exist between the Vendor and AVAYA (as manufacturer). This documentation should also reflect the current certification level/tier that the Vendor has achieved. | M
3.6 | Vendor must appropriately staff the account with Avaya certified technicians employed by the company who can provide a maximum onsite response time of within four hours anywhere in the state.
3.6.1 | Technicians proposed must have certifications in practice areas consistent with products in service by ITS and the State of Mississippi, including, but not limited to, Communications Manager, ASP130, CMS, IX Messaging, Integrated Management, SBCs, Session Manager, System Manager, IP Office, Avaya Experience Portal, Verint WFO, and Aura Messaging Web Client.
3.6.2 | Vendor must indicate where technicians are located and provide the size of inventory at each service center responsible for providing service. The inventory must be large enough to support the installed base serviced by that particular work center. Preference will be given to vendors with technicians who have readily available emergency spare parts (i.e. gateways, boards and fans).
3.7 | Vendor must support ITS and state agencies onsite through an established service network of AVAYA certified technician currently operational within the State of Mississippi, capable of meeting each site’s needs for timely and effective diagnostic determination and remediation regardless of location. Vendor must provide details of this established service network.
3.8 | Vendor must have the technical resources available to install and configure all software and hardware services proposed. The party of the prime contractor that will perform the actual design, implementation, and ongoing maintenance of the proposed equipment must be fully authorized and certified by AVAYA to do so. Fully discuss the number of staff certified and their location, the level of certification, the length of time certified, the manufacturer’s authorization process, and manufacturer’s contact for additional confirmation. Vendor must be prepared to furnish distinct evidence of certifications within 24 hours of request and the State must be able to verify theses certifications through direct contact with AVAYA.
3.9 | Vendor must provide a description of technical support and service guarantees (SLA's) available to the State of Mississippi from AVAYA. SLAs should include typical response times for various levels of outages.
3.1 | Vendors must identify the experience they have with VoIP implementation including experience in TCP/IP, LANs, WANs, routing, switching, security, QoS/CoS, MPLS, SIP, session border controllers, firewall traversal, etc.
3.11 | Vendors will be responsible for providing all requirements for LAN switches to support VoIP, including all switch port settings.
3.12 | Vendors should understand that ITS manages the Capitol Complex fiber network and the wide area network. These networks are Cisco-based. However, agency local area networks are managed by the individual agencies and may include various LAN equipment manufacturers. Vendors must understand and agree that they will be responsible for working with ITS or the agency staff concerning WAN and LAN issues with design, installation, and maintenance.
4. TECHNICAL REQUIREMENTS
4.1 | If any component(s) necessary for operation of the requested system is omitted from Vendor’s proposal, Vendor must be willing to provide the component(s) at no additional cost. This includes, but is not limited to, all cabling, connectors, raceway, etc. necessary to render the configuration fully operational.
4.2 | The equipment must be AVAYA certified.
4.3 | The equipment parts must not in any way impair the performance of the existing AVAYA equipment.
4.4 | All equipment must be new.
4.5 | All new equipment must be in static resistant packaging.
4.6 | All material must be shipped prepaid destination, with cost of shipping included in the cost matrix and catalog.
4.7 | Equipment must not have any apparent or hidden defects that would indicate equipment has been abused prior to receipt at the destination.
4.8 | Vendor must provide all parts, equipment, hardware, software, and associated peripherals in all AVAYA product lines.
4.9 | Vendor must define Right to Use (RTU) for required software used by the AVAYA platforms. (i.e., State deals directly with AVAYA for software RTU, or Vendor deals with AVAYA and passes RTU to the State.)
4.1 | The State of Mississippi utilizes an IP based Aura Communications Manager and conducts periodic network assessments for security purposes. Overall network security is a priority for the State of Mississippi. Assistance with security vulnerabilites may be needed from time to time.
4.10.1 | Vendor must describe their AVAYA Aura platform security assesment and remediation capabilities. In addition to system(s) security, describe what additional services are available. Are these services included in the proposed base price or are they billable? If billable, include rates for above mentioned services on the Cost Information Submission tab of this spreadsheet.
4.11 | ITS acknowledges that the specifications within this RFP are not exhaustive. Rather, they reflect the known requirements that must be met by the proposed system. Vendors must specify, here, what additional components may be needed and are proposed in order to complete each configuration.
5. WARRANTY
5.1 | The proposed equipment must be eligible for warranty and maintenance by AVAYA or the awarded Vendor. It is the Vendor’s responsibility to ensure that AVAYA, or the awarded Vendor, will maintain all proposed equipment after the warranty period.
5.2 | All equipment proposed must include a full parts warranty effective from the date of delivery (for customer-installed items) or from acceptance (for vendor-installed items), covering any and all defects in materials and workmanship.
5.3 | All new equipment must be warranted for a minimum of 12 months.
5.4 | Defective equipment, within the warranty period, must be replaced or repaired at no additional charge.
5.5 | Vendor must return the equipment sent in for repair or replacement to the agency within 48 hours.
5.6 | Vendor must be responsible for shipping and handling costs for returning repaired equipment to the owner during the warranty period.
5.7 | The warranty must not be nullified or otherwise affected if the State installs the product.
5.8 | If a new item was initially purchased, it is preferred that the Vendor replace the returned item with new equipment during the warranty period. If Vendor chooses to replace with refurbished equipment, Vendor must provide a warranty as if the equipment is new. (For example, if a part is replaced at six months of warranty, the replacement part must have six months of warranty remaining.)
5.9 | Complete warranty information on all equipment is to be furnished in this item of the proposal response. Vendor should note whether the warranty is with Vendor responding or manufacturer.
6. INSTALLATION AND ACCEPTANCE
6.1 | This installation section applies to both new installs and equipment replaced under a maintenance contract.
6.2 | Installation must be performed by trained personnel or the technicans certified by AVAYA for the hardware and software they are installing. Installation may be performed by trained State personnel if requested by the State.
6.3 | Installation costs, including all necessary materials and cable, are to be the responsibility of the Vendor. The awarded Vendor must be responsible for making all necessary cross-connects at MDF. All features and capabilities shall be trouble-free and operate with high reliability.
6.4 | All software and hardware installed for maintenance purposes shall be installed and working per manufacturer/ITS specifications for the equipment.
6.5 | The awarded Vendor must install the maintenance items/parts utilizing generally accepted telephone industry installation practices.
6.6 | All cables and wires must be designed with suitable cross sections to provide safe, current-carrying capacity, and intrinsic strength for the purpose for which it will be used.
6.7 | All cables, wires, and equipment must be firmly held in place. Fastenings and support shall be adequate to support their loads with ample safety factors.
6.8 | All mounting units, such as racks, terminal cabinets, distribution closets, backboards, and others must be equipped with terminal connections to which all entering cables must be wired. Terminal connections must be placed as near as possible, consistent with accessibility to a point which cables would normally enter. All electrical connections must be properly grounded. Any splices in the system wiring must meet reasonable standards of strength and continuity.
6.9 | The awarded Vendor agrees to comply with all City, County, State, and Federal codes, rules, NEC and REA codes, regulations, and/or agencies, regarding the installation of the system including furnishing the necessary labor and materials to meet the above codes. The awarded Vendor shall furnish all licenses, permits, etc., required for the installation of the system.
6.1 | The awarded Vendor must provide all labor to install all equipment as defined in this RFP. The State reserves the right to use its own trained staff to perform installations.
6.11 | The awarded Vendor must be responsible for replacing, restoring, or bringing to at least original condition any damage to floors, ceilings, walls, furniture, grounds, pavements, sidewalks, etc., caused by its personnel and/or operations, subject to final approval of the State of Mississippi. The awarded Vendor must perform all repairs only by technicians skilled in the various trades involved, using materials and workmanship to match those of the original construction in type and quality.
6.12 | For new installations, Vendor must clearly identify which hardware/software components are customer installable. Vendor must identify and provide the training necessary for these installations. Any virtual training classes must not be limited on a per person basis.
6.13 | Vendor must propose an hourly rate for training end users and/or train the trainer immediately following new installations.
6.14 | The State will accept the installed equipment parts and authorize final payment when all of the following criteria have been met:
6.14.1 | No payment will be made until final acceptance of materials by the agency.
6.14.2 | Quality shall be consistent with published specifications for the materials.
6.14.3 | All parts and equipment shall be trouble-free and operate with high reliability.
6.14.4 | All conditions stated in this RFP have been successfully completed.
6.14.5 | Awarded Vendor must work with State to develop a checklist of State-specified items required to install a system and place into production, including, but not limited to, security requirements. Said checklist will be provided to the State after each installation, ensuring all work was completed as expected.
7. COST EVALUATION/REQUIREMENTS
7.1 | Vendor must propose the entire line of AVAYA products that falls within the specifications as identified below, based on a percentage discount off of the list price. The percentage discount off of list price must be guaranteed through the life of the contract. The percentage discount may increase, but may never decrease, during the life of the contract. The State will not be tied to a revenue/volume committment during this contract.
7.2 | See Cost Information Submission and provide discount for each AVAYA product code.
7.3 | ITS currently utilizes AVAYA Subscription licenses that contractually expire 12/31/26. Vendor must provide fixed cost to renew and extend the full suite of licenses. This cost must be fixed for the entire term of the contract.
7.4 | The needs of the State require that all requests for price quotes be delived within two weeks of the initial request.
7.5 | Vendor must provide an official AVAYA price list with their proposal response indicating the list price of the equipment along with the proposed percentage discount. This list should be provided by AVAYA and updated quarterly during the life of the contract.
7.6 | Vendor must provide a configuration design (including material list with equipment pricing as requested in the Cost Information Submission) for each sample that best fits the requirements. Along with the configuration design, Vendor must provide a detailed, itemized Statement of Work (SOW) which includes hours and pricing for installation of the sample configurations. Please include any cost of registration with Avaya. Configurations should include all licenses and software required. It should be understood that these costs will be used for evaluation purposes only.
7.7 | Assumptions for all samples:
7.7.1 | Electrical connection is provided by customer
7.7.2 | Connectivity to the gateway is provided by customer, including data switches and MPLS circuits
7.7.3 | Racks are provided by customer
7.7.4 | Station cabling will be provided by customer
7.7.5 | Each model is a EPN/Gateway off of an existing Aura CM 10 enterprise system
7.7.6 | Customer will provide analog telephone sets; Vendor must provide digital and VoIP telephone sets
7.7.7 | Installation of telephone sets and cross connections will be supported by customer
7.7.8 | All system translations, other than station translations defined in samples, will be performed by Vendor
7.7.9 | System administration and/or end user training will be provided by customer
7.7.10 | All gateways shall have dual-power supplies and cables
7.7.11 | Vendor will provide remote project management resources and remote software programming
7.7.12 | For VoIP installations, Power Over Ethernet switches are supplied by the customer

## Scoring Methodology
AVAYA PRODUCTS SCORING METHODOLOGY
For the evaluation of this category of the RFP, the Evaluation Team will use the following categories and possible points:
| Category | Possible Points
Non-Cost Categories:
| Local/State Account Team/Vendor Qualifications | 15
| Technical Requirements | 5
| Warranty | 5
| Implementation Requirements- Statement of Work/Method of Procedure, Installation and Acceptance | 5
| Service Related Data | 3
| Billing | 2
| Total Non-Cost Points: | 35
Cost Categories:
| Scenarios | 10
| MPG Discounts | 20
| Five Year Fixed Annual Subscription | 25
| Hourly Rates | 10
| Total Cost Points: | 65
| Maximum Possible Points: | 100

## Cost Information Submission
AVAYA PRODUCTS COST INFORMATION SUBMISSION
Vendors must propose a summary of all applicable project costs in the matrix that follows. The matrix must be supplemented by a cost itemization fully detailing the basis of each cost category. The level of detail must address the following elements as applicable: item, description, quantity, retail, discount, extension, and deliverable. Any cost not listed in this section, even if it was asked for in the RFP technical requirements, may result in the Vendor providing those products or services at no charge to the State or face disqualification. Items listed for non-evaluation can be included as an attachment to the Vendor's RFP response.
Costs for Evaluation:
Requirement
The following samples will be used to perform a detailed cost evaluation using a comparable set of configurations. Vendors should propose minimum configurations but build in 10% growth per year for a 5-year life cycle.
Vendor must provide a configuration design for each sample that best fits the requirements. Along with the configuration design, Vendor must provide a detailed, itemized Statement of Work (SOW) which includes hours and pricing for installation of the sample configurations. Configurations should include all licenses and software required. It should be understood that these costs will be used for evaluation purposes only. Assumptions are provided in Section 7 of the Technical Specifications tab.
Four scenarios for cost submission.
| Scenarios | Equipment | Installation/Services | Cost
Scenario 1 - Digital Remote Site G450 Gateway Additional Power Supply 8300 MM710 MM 717 (2) MM 716 (1) 20 Digital Phones
Scenario 2 - SIP Remote site G450 Gateway Additional Power Supply 8300 (CM and BSM) MM710 20 J179’s
Scenario 3 - CM Core 1 – ACP -130 server Hypervisor CM Session Manager
Scenario 4 - CM Core 1 – ACP -130 server Hypervisor CM SBC
Four Scenarios Cost Total:
Fixed Annual Subscription Cost:
Fixed Annual Subscription Cost for Year 1
Fixed Annual Subscription Cost for Year 2
Fixed Annaul Subscription Cost for Year 3
Fixed Annual Subscription Cost for Year 4
Fixed Annual Subscription Cost for Year 5
Five Year Fixed Annual Subscription Total:
Vendor must provide a discount percentage off the following Avaya MPG code. This discount must be guaranteed for the term of the agreement. Vendor does have the ability to increase the discount at any time. Additional discounts are accepted.
MPG | Description | Percentage Discount from List Price
1P | Hardware – Heritage Avaya
Change Order Rates
Fully Loaded, Hourly Professional Services Rate (onsite)
Fully Loaded, Hourly Professional Services Rate (remote)
Fully Loaded, Hourly Labor Rate for Technician
Fully Loaded, Hourly Training Rate (onsite)
Fully Loaded, Hourly Training Rate (remote)
Project Management Rate
Change Order Rates Average Cost:
Non-Evaluated Price Catalog:
Item # | Requirement | Cost
Security Assessment Rate/Base Price
Non-Evaluated MPG Codes:
Vendor must provide a discount percentage off the following Avaya MPG codes. This discount must be guaranteed for the term of the agreement. Vendor does have the ability to increase the discount at any time. Additional discounts are accepted.
MPG | Description | Cost
2P | Software UC – Heritage Avaya
2R | Avaya Alliances
3P | Peripheral Equipment
4P | HW2 – Heritage Nortel
5P | Software CC – Heritage Nortel
7P | OEM
8P | Video
9P | SMEC
1C | Support Services
1N | Support Services
1S | Maintenance Services
2S | Professional Services
3S | APCS
5S | Support Services
6S | Maintenance Services
7S | Maintenance Services
1T | Cloud Offers
8S | CC Subscription Services
9S | UC Subscription Services (Basic, Core, Power)
1Z | Non-Discountable
Precentage Discount from List Price Average: